




[image: image1.jpg]therm tur




Forster Therm Tur (Door system)
L
System Manufacturer/Provider: 


Forster Rohr & Profiltechnik AG Steel Profile Systems, Arbon Switzerland. 

Contact James King Tel/Fax 01793 784655, mobile 07786 176593.

Manufactured by:               

Manufactured by Forster approved Fabricators, list of fabricators available from above contact.

Product reference: 

Forster Therm Tur is a complete thermally broken non fire rated profile system with fittings and 
accessories for flush fitting doors. 

Forster Therm Tur has a product depth of 70mm, both in steel and stainless steel. 
General Use
Doors

Can be used for single & double leaf single acting doors, both inward or outward opening. Therm Tur 

can also incorporate Therm Clima opening vent profiles to allow combination units, and can be 

incorporated within the Thermfix Vario curtain wall system. Therm Tur can  be used for burglar proof 
and bullet resistance applications.
Physical test data:
Therm Tur has been tested to achieve the following standards

Driving rain load group B to DIN 18055 / DIN EN 86

Gasket permeability load group C to DIN 18055 / DIN EN 42

Heat insulation frame material group 2.1 to DIN 4108

Acoustic insulation up to Rw, = 43 Db to DIN 52 210
Bullet proof to FB4 N5 according to DIN EN 1522
Burglar resistant to WK 1 / 2/ 3 according to DIN V ENV 1627

Materials:

Steel

Profiles are supplied in Galvanized (GV-VC yellow chromated) finish.
Stainless Steel 

Profiles are available in mill finish Stainless to 304 grade. Profiles can be finish polished to 

various requirements.
Construction method
Doors are to of fully welded construction, spigot joints can be used for multiple screens 

or combinations frames.
Fabrication Tolerances: 

Frames, doors and windows are to be manufactured within the following tolerances, these are to be 

+/- 1.5mm in height and width, and +/- 4mm diagonally.

Pre finish

Internal/External applications

Doors, Frames & screens can be etched primed, Two-Pack primed or Zinc rich primed prior to powder 
coating.  

Finish: 

Standard finish to be Polyester powder coated to RAL/BS……. . 
Therm Tur can be powder coated at 200c for twenty minutes.

Glazing details: 
Double glazed units can be accommodated by Therm Tur profiles. Minimum glass thickness of 20mm 
is recommended and the maximum glass thickness is 46mm using various standard Forster clip-on 
bead designs in steel, stainless steel and aluminium. Glasses can be of toughened or laminated in 
nature or of specific requirements for burglar resistant or bullet resistance.
Panel details: 
Various constructed panel variations can be incorporated with this system,  and these can be 

made from steel faced two panel trays, flat steel/plastic sheets or timber panels.
Ironmongery:
General 

Therm Tur doors are designed to utilize a full range of Forster hinges, which are available 

depending on choice or application. Hinges are either screw fixed to the door/frame or are welded to 

the door/frame. 
Depending on test data, Forster Dog Bolts (927013) must be used to comply with burglar/bullet test 

requirements for ironmongery.

A full range of locking devices are available depending on application required, and include a range of

latch/deadlocks with and without two/three point locking along with a complimentary range of lever handles. A range of panic latching devices as well as an emergency escape range is also available, along with a range of flush bolt locking mechanisms. The Forster emergency panic bar systems can also be fitted to Therm Tur doorsets including anti-panic function.
Various overhead and internal door closers can be fitted to this range of doors including 

automatic opening, smoke detection and selector controlled devices, available from companies such 

as Dorma or Geze. 
Burglar Resistant
When specifying and using burglar resistant doors, certain ironmongery must be used to comply with 
the test data. Those items must always be Forster hinges, Forster locking mechanisms and a tested 
door closer, usually from the Dorma/Geze ranges.  To ensure compliance please contact our Forster 
Technical Advisor or distributor.
Accessories:
Because Therm Tur can be used in a multitude of applications, various types of accessories can be 
used. For example, electric lockstrikes or magnetic locks can be easily fitted for 

security applications or full door entry solutions with automatic detection and opening. 
Fixing of ironmongery/accessories: 

Fixing of ironmongery and accessories is to be by machine screws wherever possible, drilled and 

tapped to size as per manufacturers stipulation wherever possible. This is critical for burglar resistant 
units to maintain correct performance in case of attack.

Self tapping screws or nutserts may be used for retaining certain ironmongery accessories that are 

non critical situations, such as roses or escutcheons.
With pull handles utilize concealed back to back fixings, or if a handle is fitted to one side then ensure 

it is secured by machine screws. All other fixings to be as recommended by the supplying 

ironmonger or by the fabricator.

Frame fixing to structure:-
Fixing of frames can be achieved in several ways. The most common detail is by having the fixing 

screws/bolts through one of the frame box profiles and into the structure, with the fixing either being 

covered by a cap or by the glazing detail.

The second most common detail is by attaching (screwing or welding) a bracket or strap to the frame 

and then fixing through the strap/bracket into the structure, which is then covered by plasterboard or 

render etc. When fixing into concrete/stone/brick type material it is recommended that fixings should 

be at least 50mm in from an edge to prevent breakout of the structure/fixing.
Typical fixings include woodscrews, plug & screw combinations, expanding anchors, machine 

screws/bolts, and chemical fix.
Services and Advice:-
Fabrication/Technical

For fabrication or technical advice, a full processing binder is available in hardback or pdf forms, these 

detail processing guidelines, techniques, detail drawings and the full range of profiles and fittings 

available from Forster.

Architectural/Specification

A full specification service is available from Forster to architects and specifiers requiring assistance 

with NBS specification writing. Please contact the Forster Technical Advisor in the UK or our UK 

Distribution company.
